# Tempo Instruments Pvt. Ltd.

126, Top Syringe Compound, W. E. Highway, B/H. Samrat Hotel, Pandurang Wadi, PO : Mira (Mira Road – East), Dist. : Thane – 401 104. Mob	: +91 8657537516 / 9619741622

## E-mail : sales@tempo.net.in, website : www.tempoinstruments.com

ISO 9001:2015

GST No.: 27AAMCS6280R1ZB

Ref. No. : Tempo/Quote/abc	                                                               Date:06/08/2026

the

vasai

vasai-virar - 401107

 : {client_email}

# Kind Attn.: me (: 7208622619)

# Your Ref.: Your Whatsapp enquiry Dt. 06/08/2026

Dear Sir/Madam,

We thank you for the above reference & are pleased to quote as under, subject to the conditions mentioned below -

Furnace - High Temperature 1300 0C

| Make | “TEMPO” |
| --- | --- |
| HSN Code | 8514 |
| Maximum Temp. Range | 13000C |
| Continuous working Temp. | 12500C |
| Body Construction | Ms fabricated with duly powder coated, dual body structure. Furnace is mounted on a heavy-duty stand. |
| Door | Leak proof Swing aside type door with safety switch |
| Insulation | Low energy consumption vacuum formed fiber boards & refractory bricks, Dual wall insulation, Hot wall insulation will be 14250C HD grade refractory bricks |
| CONTROL SYSTEM |  |
| Heating Rate | Up to 100C/Min |
| Heating element | SiC, Heating from two sides for better uniformity |
| Skin Temperature | Less than 600C at 12500C |
| Thermocouple (DUAL) | R type with alumina sheath (Main Controller 1 no. & Safety Controller 1 no.) |
| Temperature Controller | Digital Temperature Programmable PID controller. Single Programme with 30 segments |
| Safety Controller | Safety controller (With Separate Thermocouple as above) |
| Temperature Accuracy | +/- 30C |
| Temperature Uniformity | +/- 150C |
| Thyristor Unit | SCR unit will be Provided with soft starting driver |
| Control Switch | Rocker switch, To switch control on/off |
| MCB | MCB will be provided for over current and short circuit protection to the circuit. Also works as main incomer of the system |
| Ammeters | Digital Ammeters to indicate load current |
| Indication | LED indicators |
| FEATURES |  |
| - Rugged and durable construction. |  |
| - Outer casing is made up of thick mild steel with duly powder coated, gives long service life with extremely resistant. |  |
| - Multilayer insulation with vacuum formed ceramic fibre board and refractory bricks with low thermal mass. |  |
| - Parallel guided swing aside door design for providing ease of operation. |  |
| - Furnace design with powerful heating elements for providing fast heating rate. |  |
| - Fast heat up and cool down rates. |  |
| - Better Temperature Uniformity |  |
| - Temperature Controller with PID Controllers. |  |
| - Power control with Thyristor units for very precise temperature Control, wear-free and noiseless. |  |
| - High mechanical durability, short heating cycle and low power consumption. |  |
| - Furnace is designed with powerful heating elements, i.e, SiC on all sides of the chamber providing fast heating rate. |  |

| Standard Model | Cap. Ltr. | Internal size H x W x D in Cm | Outer Size H x W x D in Cm | Rating KW, Supply & Heater | Standard Model (Amt. in Rs.) | Packing Charges |
| --- | --- | --- | --- | --- | --- | --- |
| TI-61 HTA | 2.3 | 10 x 10 x 23 |  | 1 Phase, 230 Volts, 2 Wire, 4.3 KW, | PRICE ON REQUEST | 6,500 |
| TI-61 HTB | 6.75 | 15 x 15 x 30 |  | 3 Phase, 415 Volts, 4 Wire, 5.8 KW | PRICE ON REQUEST | 6,800 |
| TI-61 HTC | 12 | 20 x 20 x 30 |  | 3 Phase, 415 Volts, 4 Wire, 6.3 KW, | PRICE ON REQUEST | 7,500 |
| TI-61 HTD | 22.78 | 22.5 x 22.5 x 45 |  | 3 Phase, 415 Volts, 4 Wire 8 KW, | PRICE ON REQUEST | 9,000 |

OPTIONALS :-

| 1 | Data logger used for interfacing RS 485 compatible PID controller for storing data at required interval for printing and / or send to PC for maintaining data record. - Simple user interface with 16 x 2 LCD,4 programmable key & status LED’s - PID controller interface - Password protected setting - Data storage capacity – 5000 Readings for each channel for Printer & PC - Programmable logging interval (Print frequency) 1 – 255 min. - Printing Option – Online printing, Date wise printing, Page wise printing - Direct printer (EPSON LX300+) Interface - Memory full (> 70%) Alarm | 22,000 |
| --- | --- | --- |
| 2 | CFR 21 Part 11 compliance window based communication software for data management. Complete with RS 485 multi dropping monitor 8 chambers to one software. - Password protected - Logger & Scanner report with graph - Online change controller setting - Logger & Scanner Alarm report - Audit Trail report - Backup & Restore Utility - Create user & give the password | 20,000 |

SPARE PARTS KEEP IN STOCK

|  |  | List Price Amt. in Rs. |
| --- | --- | --- |
| 1 | SiC Heating Elements for TI-61 HTA (Heaters Qty. 8 nos.) | PRICE ON REQUEST |
| 2 | SiC Heating Elements for TI-61 HTB (Heaters Qty. 12 nos.) | PRICE ON REQUEST |
| 3 | SiC Heating Elements for TI-61 HTC (Heaters Qty. 12 nos.) | PRICE ON REQUEST |
| 4 | SiC Heating Elements for TI-61 HTD (Heaters Qty. 18 nos.) | PRICE ON REQUEST |
| 5 | Thyristor for TI-61 HTA (Single Phase) | PRICE ON REQUEST |
| 6 | Thyristor for TI-61 HTB (Three Phase) | PRICE ON REQUEST |
| 7 | Thyristor for TI-61 HTC (Three Phase) | PRICE ON REQUEST |
| 8 | Thyristor for TI-61 HTD (Three Phase) | PRICE ON REQUEST |
| 9 | Digital Ammeter for TI-61 HTA (Single Phase) | PRICE ON REQUEST |
| 10 | Digital Ammeter for TI-61 HTB (Three Phase) | PRICE ON REQUEST |
| 11 | Digital Ammeter for TI-61 HTC (Three Phase) | PRICE ON REQUEST |
| 12 | Digital Ammeter for TI-61 HTD (Three Phase) | PRICE ON REQUEST |
| 13 | R Type Thermocouple (20 cm) | PRICE ON REQUEST |
| 14 | PID Controller (Main Controller) | PRICE ON REQUEST |
| 15 | Safety Controller (Power and safety contactors) | PRICE ON REQUEST |
| 16 | Safety digital temperature controller with Thermocouple | PRICE ON REQUEST |

- INSULATION CRACKING

The insulation material in this furnace is susceptible to surface cracking as a result of temperature cycling. This is

a normal occurrence and such cracking is not detrimental to the performance of the overall life of the furnace,

under normal operation.

- LOADING THE FURNACE

When heating large object, in particular poor conductors, avoid shielding the thermocouple from the heating

element. Also ensure that nothing is within 15 mm of the elements.

The thermocouple is intended to sense the temperature near the heating element.

However if a large object is placed in the chamber it may record the average

Temperature of the object and the elements, which can lead to over heating of the Elements.

Allow large objects to gain heat at a lower temperature and then reset the controller to a

Temperature close to the desired maximum.

Take care that nothing hits the elements when loading and unloading.

- OPENING THE DOOR

Take great care when loading or unloading the furnace chamber. See section 4.2 before removing a hot object

from the furnace; ensure a suitable surface is available on which to put it.

Do not open the door at high temperature. If possible, do the open at above 2000C. If it is necessary to load or

unload work at elevated temperatures, keep the door open for short a period as possible. The insulation cools

quickly and may crack through thermal shock.

The heating elements and the insulation are very susceptible to mechanical shock. At all times operate the door

gently to avoid mechanical shock.

Opening the door when the furnace is very hot can cause hot air to be sucked by the case cooling fans towards

the thermal cut out and activate it (see section 4.11). Avoid excessive door opening and shut it as soon as

possible.

WARRANTY:

- Heating Elements and Alumina Tube are not warranted.

- All the components of furnace are warranted for the duration of 12 Months against any manufacturing defect.

- The defected component will be replaced.

- The furnace should be used as per the instructions and training.

- Any damage occurring due to mishandling and wrong operational practice is not covered under warranty.

- In case of Quartz Tube Furnace, devitrification of quartz tube occurring from prolong use is not covered in Warranty.

Product Details: {product_details}

# *** Please Confirm Room Door Size (for equipment entry) and ceiling height.

| TERMS & CONDITIONS |  |  |  |
| --- | --- | --- | --- |
| PRICE | All prices given in quotation are our Ex-works prices. All incidental expenses such as, Forwarding, freight, unloading of Material etc. at / upto customer destination will be borne by customer. |  |  |
| INSURANCE | WILL BE IN CUSTOMER’S SCOPE |  |  |
| PAYMENT TERMS | 40% Advance with PO and balance 60% against Proforma Invoice. At par Cheques / D.D. should be drawn in favor of “TEMPO INSTRUMENTS PVT. LTD.” which is payable at Mumbai. |  |  |
| HSN CODE & APPLICABLE GST % | HSN CODE | SGST & CGST / UTGST / IGST % | Description |
|  | 8418, 8514, 8419,8479 | @ 18% | Products |
|  | 9987 | @ 18% | Maintenance, Repair, Installation, Validation |
| INSTALLATION | Extra Rs. 15000/- Per Single Visit + GST @ 18% Extra |  |  |
| PACKING CHARGES | Extra at Actual. |  |  |
| FREIGHT | Extra at Actual. (Material will be book on Freight to pay basis upto nearest transporter’s godown through our Transporter M/s. OM LOGISTIC TRANSPORT). |  |  |
| BILLING & SHIPPING ADDRESS | Must be mentioned in your purchase order. |  |  |
| OUR COMPANY ADDRESS | MENTION IN YOUR PURCHASE ORDER. 126, Top Syringe compound, Western Express Highway, Pandurang Wadi, Behind Samrat Hotel, PO: Mira (Mira Road – East), Dist. Thane – 401 104. |  |  |
| SUPPLY | 7-8 weeks, time specified effecting delivery date of receipt of your clear PO with terms & conditions with Advance payment. No delivery indicated by us shall be constructed as promised. We cannot accept any liability for damage direct and indirect on account of failure to deliver in the stated time. |  |  |
| INCASE OF DOOR DELIVERY | Loading of the material from our Factory into VEHICLE will be on TEMPO’s A/c. Un-Loading of the material at your factory will be in your scope. All equipment will be delivered upto main gate of the customer premises. Unloading of material & moving inside the lab. or working place must be taken care by customer i.e. BUYER. |  |  |
| VALIDITY | Our offer will be valid for 60 days from the date of Quotation |  |  |
| REJECTION OF MATERIAL | Its customer’s responsibility to rebook material if rejected. |  |  |
| JURISDICTION | All disputes are at Mumbai Jurisdiction only. |  |  |

WARRANTY TERMS

Our Electrically operated equipments are Warranty for TWELVE MONTHS from the date of supply against manufacturing defect. However for general information the equipments warranty as below:

- Hot Plates, Temperature control units Heating Mantles, Ovens, Incubators, Soxhlet Extraction Heaters are fully guaranteed.

- Water stills / Water Baths / constant temperature Bath & Cryo Bath are also guaranteed for 12 months excluding heating elements, as these parts (Heating Element) are not manufactured by us. However our customers are assured of rigorous tests of these parts.

- Furnaces : In case of furnaces, the heating element does not carry any Warranty :-

As the life of Furnace elements depends on the working temperature as well as the total number of hours worked it is not possible to guarantee the same for any fixed period of time. The users however may be rest assured that Tempo Furnaces are made to latest design and only the best material and workmanship are employed. For the guidance of users it may be mentioned that at the maximum operating temperature of our furnace elements life would be about 450 hours 100 C, below the maximum life increases to 1000 hours and 200 C, below to 2000 hours.

Note: Inner mould of Muffle Furnace is made of cement clay. There are chances of line cracks development in transportation or at high temperature operation. Same will not affect the operation of Muffle furnace. If customer requires that to be filled we are sending cement clay with the furnace to fill cracks. If customer requires our service engineer then visit charges will be EXTRA

Please find the above in order and acknowledge the receipt.

For TEMPO INSTRUMENTS PVT. LTD.	Maharshi Sanjay Shashtri(: 7208622619)

| NOTE : | You are requested to contact on Mob. 7208622619 forward your email / queries to  : queries to  : {sales_user_email}{sales_user_email} |
| --- | --- |